## Complete List
PLR SUMMER SESSION
Number |  | Topic | Summary | Advocate | PLR Vote | Working Group | Process / Recommendation from PLR
1 |  | Lighting and control alterations | CEPI-230 & 231 – Lighting & Control Alterations: This section is quite unclear. The rewrite proposals have good merit and it was felt consensus could be reached with more discussion and time. | Harold Jepsen | YES | JB, HJ, JM, MT, AK, AA
2 |  | HE Lighting for Residential Range Hoods and Fans | New proposal to require HE lighting in residential applications for range hoods, bathroom ventilation fans, and ceiling fans. | Jack Bailey | YES | HJ, JB, JM
3 |  | Applicability of code to lighting not related to structures | New proposal to bring lighting not associated with a structure, like parking lots, parks, etc., under the coverage of the code. A lot of debate about this in the past, but believe leaving lighting in these outside the scope of the EE code is detrimental. Align with ASHRAE 90.1 Addendum BG and CB | Harold Jepsen | NO | HJ, JM, JK, MT, NF
4 | A | Decorative Lighting Allowance and Dark Skies | Businesses use lighting to attract customers and advertise their brand. The brightest façade and parking lot draws the greatest number of “moths to the flame”. This is a common marketing tactic throughout the world and results in progressive increases in illumination with lighting upgrades to exceed the light output of neighboring properties. Having the brightest “presence” on the block represents a major waste of energy. Recommendation: IECC PLR committee could incorporate language from carefully defined, enforceable Outdoor Lighting Codes. Examples include: curfews for non-emergency lighting, which are increasingly used for regions with nature preserves and observatories. The BUG system limits the amount of wasted lighting based on regional lighting zones. Buildings in cities are less restricted than rural areas. The net result prioritizes light for emergency and security use | Joyce Kelly | NO | JK, JM, NF, GH
4 | B | Decorative Lighting (gas lighting) | Decorative lighting power allowances or additions. Require gas lighting to meet some efficiency regulations or add their equivalent wattage rather than exempting them. | Steve Rosenstock | NO | SR, PB, JM, MM, GH
5 |  | EV Charging | New proposal to require installation of "fast charge" EV at new fuel dispensing stations. Maybe include hotels or other building types too. One-for-one? | Jack Bailey | YES | JB, PB, JM...,
6 |  | Auto-DR | CEPI-176 1. PNNL Cost effectiveness to determine appropriate scope (pending). 2. Re-write to avoid unecessary calculations when determing compliance. | Jack Bailey | NO | MJ, JB, MM, NF
7 |  | Hotel Room Lighting Controls | CEPI-169 1. What is the cost of these controls? What is the appropriate scope based on cost / benfit? 2. Proposal that was passed applies to guest rooms but exempts suites. 3. Proposal that was passed cannot be enforced for plug-in lights. Propose mandatory switched receptacles. | Jack Bailey | NO | MJ, JB, HJ, WS
8 | A | Exit Stair Lighting | 2021 IBC / IFC requires 10 times more light in exit stairs than 2018. PLR should propose to reset this to 2018 levels in a proposal for IBC 2027. | Jack Bailey | YES | JB, JM, NF, AA, MM, MT, GH
8 | B | Egress Lighting Controls | PLR could propose other modifications to IBC / IFC 2027 to make it easier for egress lighting to be switched off, or to reduce required egress light levels. | Jack Bailey | YES | JB, JM, NF, AA, MM, MT, MJ
8 | C | Exit Stair Lighting | New proposal to modify stair lighting LPD or provide allowance / exception to allow compliance with 2021 IBC / IFC. Should include OS setback. | Jack Bailey | NO | JB, JM, MM, MT, HJ, NF
9 |  | Parking Daylight Transition Zone | New proposal to eliminate the allowance from the LPD table and provide an exception. | Jack Bailey | NO | JB, JM, MK
10 | A | CEPI-193 | CEPI -193 Credit P01 Energy Monitoring | Chair |  | WS, SR, JK, HJ
10 | B | CEPI-193 | CEPI -193 Credit L01 Lighting Performance | Chair |  | MJ, JB, JM | Delete this placeholder section
10 | C | CEPI-193 | CEPI -193 Credit L02 Lighting Dimming and Tuning | Chair |  | JB, MJ, JM, HJ
10 | D | CEPI-193 | CEPI -193 Credit L03 Increase Occupancy Sensors | Chair |  | HJ, JB, GH, JK, JM
10 | E | CEPI-193 | CEPI -193 Credit L04 Increase Daylight Area | Chair |  | JM, HJ, JB
10 | F | CEPI-193 | CEPI -193 Credit L05 Residential Lighting Control | Chair |  | BH, MJ, GH, HJ
10 | G | CEPI-193 | CEPI -193 Credit L06 Light Power Reduction | Chair |  | GH, JM
10 | H | CEPI-193 | CEPI -193 Credit Q01 Efficient Elevator | Chair |  | SR, JM, Jeff Boldt
10 | I | CEPI-193 | CEPI -193 Credit R01 Renewable Energy | Chair |  | JC, MT, JM, WS, PB
10 | J | CEPI-193 | CEPI -193 Credit G01 Lighting Load Management | Chair |  | MJ, JM, HJ, JK
10 | K | CEPI-193 | CEPI -193 Credit G03 Automated Shading | Chair |  | MJ, JB, JM, HJ
10 | L | CEPI-193 | CEPI -193 Credit G04 Electric Energy Storage | Chair |  | JC, MT, PB, JM, WS
11 |  | Residential PLR Topics | Residential correlation committee to look at consistency between PLR topics in the residential and commercial sections of IECC. | Bryan Holland | NO | BH, JC
12 |  | UPS Efficiencies and Data Centers | CEPI-10. NEMA to work with NEEA on data centers + UPS efficiencies | Bryan Holland | NO | BH, JM, NF
13 |  | Renewable Power / Energy Storage | Continue the development of mandatory/permissive requirement for onsite renewable power sources and energy storage systems. CEPI-7 and CECPI-2 | Bryan Holland | YES | BH, JC, JM, WS, MT, NF
14 |  | Power Outage | Some capacity to utilize rooftop solar during power outages. Requires a transfer switch, either automatic, or manual with some kind of instruction placard on the wall, to serve some limited circuits. Perhaps this is connected with a battery storage or battery-ready provision. And then some identification in the building for which receptacles will function on solar power during outages. | Duane Jonlin | YES | NF/DJ, WS, JM, JC, PB, JB
15 |  | DRC wattage threshold | DRC wattage threshold cost effective analysis (CEPI-164) | Jack Bailey | NO | JB, MM, JM, HJ, MT
17 |  | Lamp/luminaire efficacy | Review lamp/luminaire efficacy (C405.1.1); see what resi is doing and reconcile as needed. | Glenn Heinmiller | NO | GH, MJ, JM, KC, BH
# |  | Topic | Summary | Your Name
# |  | Topic | Summary | Your Name
# |  | Topic | Summary | Your Name
# |  | Topic | Summary | Your Name
# |  | Topic | Summary | Your Name
# |  | Topic | Summary | Your Name
# |  | Topic | Summary | Your Name
# |  | Topic | Summary | Your Name
# |  | Topic | Summary | Your Name
# |  | Topic | Summary | Your Name

## Ordering
PLR SUMMER SESSION
Number |  | Topic | Summary | Advocate | PLR Vote | Working Group | Likely Outcome | 2022-07-11 | 2022-08-08 | 2022-09-12 | 2022-10-10 | 2022-11-14
1 |  | Lighting and control alterations | CEPI-230 & 231 – Lighting & Control Alterations: This section is quite unclear. The rewrite proposals have good merit and it was felt consensus could be reached with more discussion and time. | Harold Jepsen | YES | JB, HJ, JM, MT, AK, AA | Likely Committee Proposal | X | X
2 |  | HE Lighting for Residential Range Hoods and Fans | New proposal to require HE lighting in residential applications for range hoods, bathroom ventilation fans, and ceiling fans. | Jack Bailey | YES | HJ, JB, JM | Likely Individual Proponent | X | X
3 |  | EV Charging | New proposal to require installation of "fast charge" EV at new fuel dispensing stations. Maybe include hotels or other building types too. One-for-one? | Jack Bailey | YES | JB, PB, JM..., | Likely Committee Proposal | X | X
4 | A | Exit Stair Lighting | 2021 IBC / IFC requires 10 times more light in exit stairs than 2018. PLR should propose to reset this to 2018 levels in a proposal for IBC 2027. | Jack Bailey | YES | JB, JM, NF, AA, MM, MT, GH | Committee Proposal - Not Time Critical |  |  | X
4 | B | Egress Lighting Controls | PLR could propose other modifications to IBC / IFC 2027 to make it easier for egress lighting to be switched off, or to reduce required egress light levels. | Jack Bailey | YES | JB, JM, NF, AA, MM, MT, MJ | Committee Proposal - Not Time Critical |  |  | X
5 |  | Renewable Power / Energy Storage | Continue the development of mandatory/permissive requirement for onsite renewable power sources and energy storage systems. CEPI-7 and CECPI-2 | Bryan Holland | YES | BH, JC, JM, WS, MT, NF | Likely Individual Proponent | X | X
6 |  | Power Outage | Some capacity to utilize rooftop solar during power outages. Requires a transfer switch, either automatic, or manual with some kind of instruction placard on the wall, to serve some limited circuits. Perhaps this is connected with a battery storage or battery-ready provision. And then some identification in the building for which receptacles will function on solar power during outages. | Duane Jonlin | YES | NF/DJ, WS, JM, JC, PB, JB | Likely Committee Proposal | X | X
7 | A | CEPI-193 | CEPI -193 Credit P01 Energy Monitoring | Chair |  | WS, SR, JK, HJ |  |  |  | X
7 | B | CEPI-193 | CEPI -193 Credit L01 Lighting Performance | Chair |  | MJ, JB, JM | Delete this placeholder section |  |  | X
7 | C | CEPI-193 | CEPI -193 Credit L02 Lighting Dimming and Tuning | Chair |  | JB, MJ, JM, HJ |  |  |  | X
7 | D | CEPI-193 | CEPI -193 Credit L03 Increase Occupancy Sensors | Chair |  | HJ, JB, GH, JK, JM |  |  |  | X
7 | E | CEPI-193 | CEPI -193 Credit L04 Increase Daylight Area | Chair |  | JM, HJ, JB |  |  |  | X
7 | F | CEPI-193 | CEPI -193 Credit L05 Residential Lighting Control | Chair |  | BH, MJ, GH, HJ |  |  |  | X
7 | G | CEPI-193 | CEPI -193 Credit L06 Light Power Reduction | Chair |  | GH, JM |  |  |  |  | X
7 | H | CEPI-193 | CEPI -193 Credit Q01 Efficient Elevator | Chair |  | SR, JM, Jeff Boldt |  |  |  |  | X
7 | I | CEPI-193 | CEPI -193 Credit R01 Renewable Energy | Chair |  | JC, MT, JM, WS, PB |  |  |  |  | X
7 | J | CEPI-193 | CEPI -193 Credit G01 Lighting Load Management | Chair |  | MJ, JM, HJ, JK |  |  |  |  | X
7 | K | CEPI-193 | CEPI -193 Credit G03 Automated Shading | Chair |  | MJ, JB, JM, HJ |  |  |  |  | X
7 | L | CEPI-193 | CEPI -193 Credit G04 Electric Energy Storage | Chair |  | JC, MT, PB, JM, WS |  |  |  |  | X